|  |  |  |  |
| --- | --- | --- | --- |
| **Institution:** | Texas State Technical College | **Award Title:** | Biomedical Equipment Technician |
| **Program:** | AAS Biomedical Equipment Technology | **Award CIP Code:** | 15.0401 |

| **Key Activities to WECM Courses Matrix** |
| --- |
| **Biomedical Equipment Technician Skill Standards****Key Activity #/Statement** | **WECM Course Rubric, Number and Title** |
| BIOM 1101 Biomedical Equipment Technology | BIOM 1270 Shop Skills for BioMedical Equipment Technicians | BIOM 1309 Applied Biomedical Equipment Technology | BIOM 1341Medical Circuits/ Troubleshooting | BIOM 2215 Physiological Instrumentation I | BIOM 2231 Biomedical Clinical Instrumentation | BIOM 2301 Safety in Healthcarre Facilities | BIOM 2311 General Medical Equipment I | BIOM 2319 Fundamentals of X-Ray and Medical Imaging Systems | BIOM 2380 OR 2388Iuternship BioMedical Technology |
| 1.1 Receive, inspect and inventory equipment upon delivery |   | X |   |   |   |   |   |   |   | X |
| 1.2 Deliver equipment to installation location  |   |   |   |   |   |   |   | X |   | X |
| 1.3 Conduct incoming inspection |   | X |   |   |   |   |   | X |   | X |
| 1.4 Install equipment |   |   |   |   |   |   |   | X |   | X |
| 2.1 Conduct scheduled preventive maintenance |   |   |   | X | X | X | X | X | X | X |
| 2.2 Order parts and supplies |   |   |   | X |   | X |   | X |   |   |
| 2.3 Respond to device alerts and recalls |   |   |   |   |   |   | X |   |   |   |
| 2.4 Conduct rounds |   |   |   |   | X | X |   |   | X | X |
| 3.1 Respond to device failures reported by users |   |   |   |   | X |   |   | X |   |   |
| 3.2 Diagnose equipment malfunctions |   |   |   | X | x | X | X | X | X | X |
| 3.3 Order parts and supplies |   |   |   | X |   |   |   | X |   |   |
| 3.4 Repair faults and calibrate equipment |   |   |   | X | X | X | X | X | X | X |
| 3.5 Return equipment to service |   |   |   | X |   | x | X | X | X | X |
| 4.1 Respond to emergencies  |   |   |   |   | X |   |   | X |   | X |
| 4.2 Ensure public and employee safety in the healthcare facility | X | X | X |   |   | X | X | X | X | X |
| 4.3 Identify hazards in and around work areas |   | X |   | X |   | X | X | X | X |   |
| 5.1 Maintain equipment, parts, and inventory database |   | X |   |   |   |   |   | X |   | X |
| 5.2 Assist with equipment recalls and health device alerts (HDAs) |   |   |   |   |   |   | X |   |   |   |
| 5.3 Update equipment maintenance documentation |   |   |   | X | X | X | X | X | X |   |
| 6.1 Coordinate resources to facilitate repairs |   |   |   |   |   |   |   |   |   | X |
| 6.2 Conduct quality assurance check of third-party repairs |   |   |   |   |   |   |   |   |   | X |
| 6.3 Verify third party documentation of repairs |   |   |   |   |   |   |   |   |   | X |
| 7.1 Demonstrate equipment for facility staff | X | X |   |   |   |   |   |   |   | X |
| 7.2 Respond to user requests for assistance |   |   |   | X | X | X |   |   |   | X |
| 7.3 Identify need for in-service presentations | X |   | X | X |   |   |   |   |   |   |